R307.  Environmental Quality, Air Quality.
R307-356. Appliance Pilot Light.
R307-356-1. Purpose.
	The purpose of R307-356 is to reduce volatile organic compound (VOC) emissions from natural gas-fired fan-type central furnaces, gas fireplaces, and gas stoves.

R307-356-2.  Applicability.
	R307-356 applies to manufacturers, distributors, retailers, and installers of residential, institutional, and commercial natural gas-fired fan-type central furnaces, fireplaces, stoves, and cooktops, and applies in Box Elder, Cache, Davis, Salt Lake, Tooele, Utah, and Weber counties.

R307-356-3.  Exemptions.
	The requirements of R307-356 shall not apply to:
	(1)  Units using a fuel other than natural gas;
	(2)  Units using an intermittent pilot ignition;
	(3)  Units used in recreational vehicles; or
	(4)  Units manufactured and sold in Box Elder, Davis, Cache, Weber, Salt Lake, and Utah counties that are for shipment and use outside of those counties.

R307-356-4.  Definitions.
	The following additional definitions apply to R307-356:
	"Fan type central furnace" means a self-contained space heater providing for circulation of heated air at pressures other than atmospheric through ducts more than ten inches in length that have rated heat input capacity of less than 175,000 BTU per hour and that require single phase electric supply.
	"Fireplace" means a vented or non-vented gas appliance, including freestanding, recessed, zero clearance, or a fireplace insert, that simulates a solid fuel fireplace.
	"Rated heat input capacity" means the gross heat input capacity specified on the nameplate of either the unit or the burner.
	"Recreational vehicle" means a motor home, travel trailer, truck camper, or camping trailer, with or without motive power, designed for human habitation for recreational, emergency, or other occupancy.

R307-356-5.  General Provisions.
	After January 1, 2014, no person shall manufacture for sale, distribute, sell, offer for sale, or install any natural gas-fired fan-type central furnaces, gas fireplaces, or gas stoves that require the use of a continuous pilot light for ignition.

KEY: pilot lights, furnaces, fireplaces, stoves
Date of Enactment or Last Substantive Amendment:  January 1, 2013
Notice of Continuation:  March 8, 2018
Authorizing, and Implemented or Interpreted Law:  19-2-101; 19-2-104