R653.  Natural Resources, Water Resources.

R653-17.  Regional Water Conservation Goals.

R653-17-1.  Authority and Purpose.

This rule is promulgated to:

(1)  define terms;

(2)  establish regional water conservation goals as percent;

(3)  describe water use measurement;

(4)  describe end user water use data;

(5)  present options for alternative conservation evaluation; and

(6)  fulfill legislative directives in Section 73-10-32.

R653-17-2.  Definitions.

(1)  Terms used in this rule and not otherwise defined in this section are defined in Section 73-10-32.

(2)  As used in this section:

(a)  "2015 Baseline Average" means average water use, reported as GPCD, compiled by the division from data reported to the Division of Water Rights and published by the division for calendar years 2015 through 2019.

(b)  "District" means a water conservancy district, as the term is defined in Section 73-10-32.

(c)  "Division" means the Division of Water Resources.

(d)  "End user" means a person or entity that obtains water for M&I use from a public water system provider.

(e)  "GPCD" means gallons per capita per day.

(f)  "M&I" means municipal and industrial.

(g)  "M&I water use" means water being used for residential, commercial, institutional and industrial purposes within a public water system service area, including potable, secondary and reuse water.

(h)  "Public water system" means a water system which:

(i)  supplies water to the same population year-round; and

(ii)  serves at least 25 people at their primary residences; or

(iii)  serves at least 15 connections that are primary residences.

(i)  "Potable water" means water appropriate for human consumption.

(j)  "Secondary water" means water that is not intended for human consumption and is used for landscape and garden irrigation.

(k)  "Water being conserved" means the reduction by end users within a water provider's service area of M&I water use compared to the 2015 Baseline Average.

R653-17-3. Regions and Regional Water Conservation Goals.

(1)  The division shall establish regional water conservation goals for M&I water use.

(2)  The 2030 regional water conservation goals are a percent reduction from the 2015 Baseline Average established for the region where a public water system is located, as presented in the Table "2030 Water Conservation Goal". If a public water supplier is located in more than one county, it may use the water reduction goal for each county in which it operates for the end users in those counties or use the goal for the county where the majority of the end users are located

| TABLE 2030 Water Conservation Goal |  |  |
| --- | --- | --- |
| Region | County | Goal |
| 1 | Beaver | 30% |
| 2 | Box Elder | 17% |
| 3 | Cache | 18% |
| 4 | Carbon | 11% |
| 5 | Daggett | 19% |
| 6 | Davis | 20% or as determined by Weber Basin Water Conservancy District |
| 7 | Duchesne | 18% |
| 8 | Emery | 34% |
| 9 | Garfield | 20% |
| 10 | Grand | 9% |
| 11 | Iron | 13% |
| 12 | Juab | 20% |
| 13 | Kane | 15% |
| 14 | Millard | 19% |
| 15 | Morgan | 22% |
| 16 | Piute | 13% |
| 17 | Rich | 23% |
| 18 | Salt Lake | 11% or as determined by Jordan Valley Water Conservancy District |
| 19 | San Juan | 23% |
| 20 | Sanpete | 26% |
| 21 | Sevier | 11% |
| 22 | Summit | 12% |
| 23 | Tooele | 13% |
| 24 | Uintah | 17% |
| 25 | Utah | 20% or as determined by Central Utah Water Conservancy District |
| 26 | Wasatch | 23% |
| 27 | Washington | 14% or as determined by Washington County Water Conservancy District |
| 28 | Wayne | 23% |
| 29 | Weber | 21% or as determined by Weber Basin Water Conservancy District |

(3)  The division shall review and update Regional Water Conservation Goals before December 31, 2030.

R653-17-4.  Water Use Measurement.

(1)  Water use shall annually be reported by every public water system to the Division of Water Rights.

(2)  Water use reported to the Division of Water Rights shall be used by the division to calculate water use by end users in GPCD to determine progress toward the regional goal.

R653-17-5. End User Water Use Data.

(1)  The division shall collect water use data at the end user connection.

(2)  Annually the division shall:

(a)  calculate end user water use data for public water systems from the Utah Water Use Program database administered by the Division of Water Rights;

(b)  aggregate end user water use data from public water system data by:

(i)  county;

(ii)  region; and

(iii)  basin.

(3)  The 2015 Average Baseline shall be calculated by averaging public water system use for calendar years 2015 through 2019 as delivered to the end user.

R653-17-6. Alternative Water Conservation Goals.

(1)  Water is conserved by reducing end user demand, improving efficiency, or reducing system and end user losses and waste.

(2)  In lieu of adopting a regional water conservation goal percentage reduction presented in the Table "2030 Water Conservation Goal", a water conservancy district or a public water system may adopt an alternate goal.

(3)  If a water conservancy district or a public water system elects to adopt a water conservation goal that would result in either more or less water being conserved than would be conserved under the conservation goals shown in the Table, the water conservancy district or public water system shall:

(a)  Provide a table that includes the proposed goal to be achieved by 2030.

(b)  Provide justification for adopting an alternative water conservation goal.

(c)  Provide an explanation of the factors supporting the justification, such as:

(i)  demographics;

(ii)  geography;

(iii)  lot size;

(iv)  categories of water use; or

(v)  availability of secondary water.

(d)  Provide a description of the proposed alternative conservation goal.

(e)  Describe how the alternative conservation goal metric is tracked, including:

(i)  definition of terms as they are used in the metric;

(ii)  elements and data used to develop the goal values; and

(iii)  percentage reduction in water use compared to the 2015 Baseline Average using the proposed metric.

(f)  Specify data sources.

R653-17-7.  Per Capita Consumptive Water Use.

(1)  The following water conservancy districts shall determine per capita consumptive use for counties for which they provide water in accordance with Section 73-5-8.5:

(a)  Central Utah Water Conservancy District for Utah County;

(b)  Jordan Valley Water Conservancy District for Salt Lake County;

(c)  Washington County Water Conservancy District for Washington County; and

(d)  Weber Basin Water Conservancy District for Weber and Davis Counties.

(2)  The division may not calculate a statewide per capita consumptive water use number.

(3)  The division may not calculate per capita consumptive water use for any entity within a county which has been designated to a water conservancy district.

(4)  The division may not be required to determine per capita consumptive water use nor establish per capita consumptive water use goals.

(5)  Determination of per capita consumptive water use by water conservancy districts may not prohibit the division from compiling, tracking, and reporting end user water use for all public water systems that report data to the Division of Water Rights.

(6)  A public water system may determine per capita consumptive water use for their own water system.

(7)  The division may adopt the same methodology to track and report water use as used by a water conservancy district.

KEY:  water use comparison, water conservation measure, water conservation goals, consumptive water use, GPCD, gallons per person

Date of Last Change:  May 26, 2026

Authorizing, and Implemented or Interpreted Law:  73-10-32